## Slide 1: Past, present and future of hard X-ray/γ-ray measurements of GRB polarization
P. Laurent
CEA/DSM/IRFU/SAP & APC
June, 13th 2012

## Slide 2: Compton polarimetry principles
Compton scattering cross section is maximum for photons scattered at right angle to the direction of the incident electric vector  asymmetry in the azimuthal profile S of scattered events.
modulation
  a = modulation factor
  polar. fraction = PF = a/a100
  a100 = modulation for a 100 % polarized source.
  polar. angle = PA = 0 - /2 + n
Incident photon
Scattered photon
e
June, 13th 2012
GRB polarisation observations

## Slide 3: History of GRB polarization observations
The past : RHESSI
The present : Integral and GAP
The future : POLAR, NuStar, Astro-H, …
June, 13th 2012
GRB polarisation observations

## Slide 4: GRB RHESSI observations
The RHESSI spectrometer.
Observation of polarization in GRB 021206.
Controversy on this measure.
June, 13th 2012
GRB polarisation observations

## Slide 5: The RHESSI spectrometer
Launched in 2002 to study solar activity.
9 germanium detector with modulated coded mask.
Could measure polarization between 20 and 2 MeV.
a100 ~ 40 % at 50 keV.
June, 13th 2012
GRB polarisation observations
Mc Connell et al.,
2002, Solar Phys. 210, 125

## Slide 6: RHESSI observation of GRB021206
June, 13th 2012
GRB polarisation observations
GRB 021206 : a bright GRB detected up to 2 MeV.
Data analysis : unpolarized signal simulated by Monte-Carlo and subtracted to real data.
Coburn & Boggs,
Nature, 2003, 423, 415
25 – 150 keV
150 – 500 keV
500 keV – 2 MeV
150 keV – 2 MeV

## Slide 7: Controversy
June, 13th 2012
GRB polarisation observations
Data reanalyzed in 2004 by Rutledge & Fox (MNRAS 350, 1288 (2004) :
    Real double events number is a factor 10 below than this estimated by Coburn & Boggs  lower S/N.
    Polarization signal is in fact dominated by systematics.
 Difficulty of polarization data analysis

## Slide 8
OMC (optical)
JEM-X
INTEGRAL Scientific payload
SPI
20 keV – 8 MeV
2 keV FWHM
26° Ø FOV
IBIS
15 keV – 10 MeV
12’ FWHM imaging
<1’ source location
19°x19° FOV
Satellite
4.1 tons
5 m height
3.7 m diameter
Launched in 2002
ISDC

## Slide 9: Integral GRB observations
Polarimetry with the Integral IBIS/Compton telescope.
Polarimetry with the Integral/SPI telescope.
Observation of variable polarization in GRB 041219A.
Constraints on LIV from GRB 041219A observations.
June, 13th 2012
GRB polarisation observations

## Slide 10: The IBIS telescope
June, 13th 2012
GRB polarisation observations

## Slide 11: The IBIS/Compton telescope
The IBIS telescope is a coded mask telescope which could be used as a Compton telescope.
The Compton mode events are ISGRI and PICSIT events in temporal coincidence, within a window W  3.8 s.
Within this window, chance coincidence, called hereafter “spurious events”, may also occur.
Incident photon
Scattered photon
e
ISGRI
PICsIT
June, 13th 2012
GRB polarisation observations

## Slide 12: The a100 factor
GEANT 3 simulation:
a100 between 0.2 and 0.4
a100 necessary to estimate the pulse fraction.
a100 estimate: GEANT 3/ GLEPS simulation for a 100 % linearly polarized source.
a100 = 0.304 ± 0.003 for a Crab-like spectrum
No on-ground calibration.
June, 13th 2012
GRB polarisation observations

## Slide 13: Data analysis summary
Spurious events correction
Uniformity correction
Coded mask deconvolution
June, 13th 2012
GRB polarisation observations

## Slide 14: Spurious correction
“SPURIOUS EVENTS”
1 ISGRI event + 1 independent PICSIT event detected during the coincidence window
False source detection
1. We compute the spurious events contribution: NSPUR/NISGRI ~ WNPICSIT
3. We build sky image with these events that we subtract from the Compton ones.
2. We compute “fake” spurious events, composed of one ISGRI single event randomly associated to one PiCsIT single event.
June, 13th 2012
GRB polarisation observations

## Slide 15: Compton imaging: Non-uniformity corrections
Compton/ISGRI image
Uniformity profiles
Uniformity map
Uniformity map deconvolved
June, 13th 2012
GRB polarisation observations

## Slide 16: Image deconvolution
Shadowgram deconvolution
shadow
 SOURCE DIRECTION
200-800 keV T=300 ks
June, 13th 2012
GRB polarisation observations

## Slide 17: Checks for systematics
strong calibration source
  at 392, 511, 662 keV
  a < 5-7 %
empty fields
  a < 5 %
observations at ≠ source-detector angles
  same results
spurious event files
  a = 15 % @ 180°
maximum modulation for unpolarized data?
(square detectors, grids, pixels, mask pattern…)
Spurious events
June, 13th 2012
GRB polarisation observations

## Slide 18: Polarimetry with the SPI telescope
June, 13th 2012
GRB polarisation observations

## Slide 19
j - angle between incident photon polarisation direction and scattered photon direction.

Polarimetry with SPI
SPI has also be used as a Compton telescope using multiple events in the Germanium detectors
June, 13th 2012
GRB polarisation observations

## Slide 20
Photons with the same spectrum and direction as the source under investigation are simulated interacting with a detailed model of SPI and the surrounding spacecraft.
The energy deposits can be analysed in the same manner as for the real instrument
The flux is modelled with different angles of polarisation
Then compared to the real data taken by the instrument.
Polarimetry with SPI
Polarimetry with SPI is determined using a very detailled Mass Model (Dean 08)
June, 13th 2012
GRB polarisation observations
Notes: 20

## Slide 21
Mass Model simulation of Crab spectrum for each pointing
18 polarised beams for each azimuthal angle in 10º steps between 0º and 170º (180º symmetry) + 1 non-polarised
~700,000 singles & ~70,000 doubles produced for each pointing
Polarised & unpolarised simulated data combined to produce any percentage polarisation () needed using:
P100 = 100% polarised
P0 = unpolarised
P% = percentage polarised data
Polarimetry with SPI
June, 13th 2012
GRB polarisation observations

## Slide 22
Data fitted on a Science window by Science window basis
Each adjacent detector pairs considered (Pseudo detectors: 42 later reduced to 32 after failure of the two Ge pixels)
Recorded data from Crab modelled as:
S = the Crab strength
C = count distribution from the simulation
Bi = spatial distribution of the background
Bs = background variation in time
Polarimetry with SPI
June, 13th 2012
GRB polarisation observations

## Slide 23: Study of polarisation of GRB 041219A
June, 13th 2012
GRB polarisation observations

## Slide 24: GRB 041219A in a few words
GRB 041219A was detected in december 2004 by the Integral Burst Alert System (IBAS).
Longest and brightest GRB detected in the Integral FOV so far …
The Integral Spectrometer (SPI) already reported a high polarisation level (68 %) observed during the brightest part of this GRB (Mc Glynn et al., 2007)
June, 13th 2012
GRB polarisation observations

## Slide 25: GRB 041219A Compton light curve
Analysis in 10s bins
Total S/N
(200-800 keV) 37 
5s bin
June, 13th 2012
GRB polarisation observations

## Slide 26: GRB 041219A polarisation diagrams
= SPI
June, 13th 2012
GRB polarisation observations

## Slide 27: GRB 041219A polarisation results
= SPI
SPI : 63 ± 30 % P.A. = 70 ± 12°
June, 13th 2012
GRB polarisation observations

## Slide 28: GRB 041219A: constraints on LIV
LIV : Lorentz invariance violation
LIV => rotation of the polarization angle
Already studied using the SPI measurement of Crab polarization (Maccione et al. 2008)
June, 13th 2012
GRB polarisation observations

## Slide 29: GRB 041219A: constraints on LIV
Principle:
Light dispersion relation:
MPl: reduced Planck scale (2.4 1018 GeV)
June, 13th 2012
GRB polarisation observations

## Slide 30: GRB 041219A: constraints on LIV
Crab:  < 2 10-9 (Maccione et al. 2008)
GRB : at least 105 times further away
June, 13th 2012
GRB polarisation observations

## Slide 31: GRB 041219A: distance determination
Redshift measure with the CFHT/WirCAM instrument (Götz et al., 2011):
=> z = 0.31 +0.54 -0.26
=> d = [0.222-5.406] Gpc
with standard cosmological parameters
(m=0.3, =0.7, H=70 km/s/Mpc)
June, 13th 2012
GRB polarisation observations

## Slide 32: GRB 041219A: measure of 
Comparaison of PA between 2 energy bands with
proba(a > a0, any ) = 0.06 %
68%
90%
95%
99%
similar signal to noise
June, 13th 2012
GRB polarisation observations

## Slide 33: GRB 041219A: constraints on LIV
Comparaison of PA between 2 energy bands
200-250 keV vs
250-325 keV
 = 21 ± 47°
 < 4 10-15
June, 13th 2012
GRB polarisation observations

## Slide 34: IKAROS/GAP GRB observations
June, 13th 2012
GRB polarisation observations

## Slide 35: The IKAROS/GAP experiment
June, 13th 2012
Japanese experiment launched in2010.
GAP : Gamma-Ray Burst polarimeter on the solar sail IKAROS.
Plastic – CsI axial Compton telescope.
Heavily tested on ground in polarized beams.
GRB polarisation observations

## Slide 36: GAP observation of GRB 100826A
June, 13th 2012
GRB polarisation observations
GRB 100826A observed by GAP (70 – 300 keV).
Modulation fitted with a Monte-Carlo model.
Marginal detection at 2.9 

## Slide 37
June, 13th 2012
GRB polarisation observations
FUTURE MISSIONS …

## Slide 38: The POLAR telescope (2014)
June, 13th 2012
GRB polarisation observations
POLAR is a Swiss lead mission to be placed on the Chinese space station Tiangong 2 (2014).
It is a Compton telescope dedicated to GRB polarization measures.
It consists of several bars of plastic scintillator readout by PMT (a100 ~ 60 %).

## Slide 39: Astro-H (2014)
June, 13th 2012
GRB polarisation observations
4 instruments including a Compton telescope (SGD, 5-600 keV).
Good polarimetric results on ground.
But, FOV (10°), delimited at high energy (> 300 keV) by BGO collimators.
Astro-H : next X-ray Japanese mission
250 keV X-ray beam
SGD telescope

## Slide 40: NuStar (2012)
June, 13th 2012
GRB polarisation observations
NuStar : new hard X-ray focusing telescope (6-80 keV) to be launched today (20h30 Moscow time).
A mirror focuses X-rays toward a CZT detector, 12 m away.
Polarization measures could be made by studying Compton scatter between different CZT pixels.
But, small FOV  GRB scarcely observed.

## Slide 41: ASTROSAT (2012), UFFO-100 (2015), SVOM (2017), …
June, 13th 2012
GRB polarisation observations
ASTROSAT : next X-ray/UV indian mission
UFFO-100 : russian/korean mission
SVOM : French/Chinese GRB mission
hard X-ray wide field imager: CZT, LSO detector + coded mask which may be also used as “90° polarimeters”.

## Slide 42: Conclusion
The measure of polarization in hard-X/soft-gamma rays is a powerful tool to investigate the emission mechanisms and geometry of Gamma-Ray Bursts.
Fundamental physics questions can also be addressed
Next generation polarimeters (e.g., POLAR, Astro-H, etc.) will complement the present discoveries !
Several Compton telescope R&D projects are on-going all over the world dedicated to hard X-ray polarimetry measurement.
June, 13th 2012
GRB polarisation observations

## Slide 43: Thank you !
June, 13th 2012
GRB polarisation observations

## Slide 44: Interpretation(s)
(ii) synchrotron emission from purely electromagnetic flow
(Lyutikov et al. 2003, Nakar, Piran & Waxman 2003)
synchrotron emission from shock accelerated electrons in a relativistic jet with magnetic field transverse to the jet expansion (Granot 2003, Granot & Königl 2003, Nakar, Piran & Waxman 2003)
(iii) synchrotron emission from shock accelerated electrons in a relativistic jet with a random magnetic field (Ghisellini & Lazzati 1999, Waxman 2003)
SAME POLARIZATION LEVELS AS IN (I) BUT A PECULIAR OBSERVATION CONDITION IS NEEDED (Θobs ≅ Θjet+k/Γ)
June, 13th 2012
GRB polarisation observations

## Slide 45: Interpretation(s)
(iv) Inverse Compton scattering from relativistic electrons in a jet propagating in a photon field (“Compton drag”) (Lazzati 2004)
POLARIZATION LEVELS can reach 60-100% BUT ONLY UNDER THE CONDITION OF A NARROW JET (ΓΘjet<5) AND THE SAME OBSERVATION CONDITIONS AS IN (iii) APPLY
(v) Independently from the emission process (synchrotron or inverse Compton), fragmented fireballs (shotguns, cannonballs, sub-jets) can produce highly polarized emission, with a variable P.A. The fragments are responsible for the single pulses and have different Lorentz factors, opening angles and magnetic domains. (e.g. Lazzati & Begelman 2009)
June, 13th 2012
GRB polarisation observations